Agenda:

Administrative

- Casey planning to reintroduce ECC-En-4-1-23 building electrification proposal on February 16th for reconsideration by CCCB.

- Will also vote on updated Water Heating and EV infrastructure proposals on Feb 16th call.  Did not need to introduce ahead of time, as were previously introduced.

- Mechanical TAG still has yet to review ECC-En-6-2-23 DOAS that was approved by TAG but referred to Mechanical.

- Amendment proposal status at CCCB:

  - ECC-En-1-1-23 – approved 9/15

  - ECC-En-2-1-23 – approved 9/15

  - ECC-En-4-1-23 Decarb – failed 10/20

  - ECC-En-6-3-23 Decarb – approved 10/20

  - ECC-En-3-2-23 Decarb – approved 10/20

  - ECC-En-8-2-23 Decarb – inconclusive vote on 10/20, did not get majority support

  - ECC-En-5-1-23 Air Tightness – approved 8/18

  - ECC-En-6-1-23 Fan Efficacy – approved 7/21

  - ECC-En-6-2-23 DOAS – deferred and referred to Mechanical TAG for their consideration

  - ECC-En-G-1-23 Glazing tradeoff – approved 8/18

  - ECC-En-3-1-23, ECC-En-8-1-23, ECC-En-9-1-23 and ECC-En-12-1-23 Horticultural lighting – all 4 approved 11/17

- Amendments approved by TAG but not yet introduced to CCCB

  - Thermal bridging package

  - Building Code, Chapter 1 – Building Code alignment

  - Energy Code, Chapter 1 – Building Code alignment

  - Energy Code, Chapter 2 – Building Code alignment

Building Code, Chapter 1 alignment (3 separate proposals)

- DC Building Code, Chapter 1 draft - notes

  - Defined terms, which are italicized, need to align

  - Should we consider aligning scope of Residential energy code with IBC definition.

- DC ECC, Section 1 proposal to strike and relocate to Building Code, Chapter 1

- DC ECC, Section 2 proposal to strike and relocate to Building Code, Chapter 1

  - All three unanimously approved on 2023-01-12 call

Chapter 11 – Energy Cost Budget Method

- We have stricken it from the compliance pathways listed in Chapter 4

- Should we strike the entire section?

- 2017 DC ECC-C did strike it and replace with something else

- Casey drafted proposal for consideration that strikes it.  Proposed for discussion and vote.

  - “ECC-En-11-1-23 Strike Chapter 11.docx”

- If TAG is supportive, will strike the Chapter 11 references in Thermal Bridging proposal as well

Green Construction Code development plan

- Background

  - Starting in 2018 IgCC and ASHRAE 189.1 merged into one common development process and content.  May have different names, but it’s the same.

  - Current 2017 DC GCC is based on 2012 IgCC.

- Ali has lead a Green Construction Code working group to review the latest model code, 2021 IgCC

- Attached work product for TAG review is “2021 IgCC – TAG Working Group 1.docx”

- Decision was made to discontinue practice of updating DC GCC and instead adopt the latest model code (2021 IgCC)

- Working group has reviewed 2021 IgCC with an eye to remove:

  - Details pertaining to any other climate zone outside of 4A

  - Requirements that are duplicated in other, existing DC regulations

- Questions for discussion:

  - Is the TAG comfortable with the move away from an elective model for the DC GCC?

  - Ali has flagged instances where content was stricken from 2017 DC GCC, but is present in the 2021 IgCC model code.  Should we keep or strike again?

  - Is the TAG comfortable with sections that the working group has stricken as duplicative?

  - Is the TAG comfortable with the land use requirements, which were not previously in the DC GCC?

  - How to best review and approve the model code language as a TAG?

  - Should we adopt informative appendices too?

- Discussion:

  - Energy items stricken from this draft of IgCC – consolidates into the ECC, easier to understand, implement and enforce.  Since ECC is heavily amended, don’t think we are losing much.

  - How should TAG vote?  Chapter by chapter?  Or one ombibus motion?

  - Current 2017 DC GCC has a 10,000 sf threshold, but model does not.  Simply says does not apply to SFR, MFR 3 stories or below, mobile homes, etc

  - Would all of Chapter 1 be stricken and moved to Building Code?  Including 105 about Jurisdictional Options?

  - Section 102 Applicability – Ali felt was already in 2021 IBC, verbatim.

    - Same for 103, 104, 105, 106, 107, 108, 109, 110, 111,

  - Appendix M includes an option to expand applicability to SFR and low-rise MFR.  Uses NGBS.  Do we want to adopt?

  - Does NBI have any overlay codes for IgCC/189.1?

    - Could check – Diana not sure.

    - Casey hesitant to grow the scope due to time constraints

  - Applicability

    - 2017 DC GCC has 10k sf minimum threshold

      - Enforcement challenges if projects are submitted separately.  Hard to track.

      - Only the work being performed is subject to the Green Code.  Likely means indoor air quality, construction waste, and few others.

    - Green Building Act – how does this impact?

      - GBA applies to new construction at 50k sf, or anything publicly funded

    - Ali (DOB) supportive of not adding in a 10k sf min threshold

  - Next call

    - Participants asked to review the markup proposal of 2021 IgCC, with specific attention to the applicability, energy, envelope and Cx sections.  Come prepared to take voting actions.