## Sheet1
[13 empty] | Utility Rates |  |  | Source Conversion |  |  | Carbon Factors
[13 empty] | Elec | 0.1275 | /kWh | Elec | 2.8 |  | Elec | 0.00012667 | tCo2e/kBTU
[13 empty] | Ngas | 1.451 | /therm | Ngas | 1.05 |  | Ngas | 5.311e-05 | tCo2e/kBTU
CURRENT BPF (2017 DC ENERGY CODE) |  |  | Model Output (Annual Site Energy) | [5 empty] | Annual Site Energy (kBtu) |  |  |  |  | Annual Energy Cost |  |  | Source EUI |  |  | Carbon Emissions
|  |  | ASHRAE 90.1 2004 Baseline |  |  |  | Proposed |  | 2017 DC code baseline |  | Proposed |  | % difference | Baseline | Proposed | % difference | Baseline | Proposed | % difference | Baseline | Proposed | % difference
|  |  | Regulated |  | Unregulated |  |  |  | 2017 DC BPF |  |  |  |  | 2017 DC BPF |  |  | 2017 DC BPF |  |  | 2017 DC BPF
GSF | Units |  | Elec (kWh) | Ngas (therm) | Elec (kWh) | Ngas (therm) | Elec (kWh) | Ngas (therm) | 0.58 | EUI | kBtu | EUI |  | 0.58 |  |  | 0.58 |  |  | 0.58
72297 | 70 | MF midrise (4 stories) with in-unit gas DHW and one-to-one heat pumps | 288560.5 | 29914.5 | 186969 | 3.5 | 499453 | 9078 | 2944378.9151 | 40.7262 | 2611933.636 | 36.1278 | 11.29% | 70358.1199 | 76852.4355 | -9.23% | 72.0269 | 79.184 | -9.937% | 245.3091 | 264.0759 | -7.65%
72297 | 70 | MF midrise (4 stories) with in-unit elec DHW and one-to-one heat pumps | 288560.5 | 29914.5 | 186969 | 3.5 | 715259 | 0 | 2944378.9151 | 40.7262 | 2440463.708 | 33.7561 | 17.11% | 70358.1199 | 91195.5225 | -29.62% | 72.0269 | 94.517 | -31.22% | 245.3091 | 309.1335 | -26.02%
422039 | 431 | MF mixed use (7 stories) | 2193677 | 86681 | 2489834 | 14 | 4574174 | 1565 | 17865410.6439 | 42.3312 | 15763581.688 | 37.351 | 11.76% | 552645.5591 | 585478 | -5.941% | 97.6748 | 103.9339 | -6.408% | 1893.0858 | 1985.2608 | -4.869%
379493 | 466 | MF (12 stories ), central gas fired DHW | 2074399 | 146284 | 1479562 | 24 | 3535763 | 52007 | 17640290.189 | 46.4838 | 17264723.356 | 45.4942 | 2.129% | 465190.4738 | 526271.9395 | -13.13% | 91.0182 | 103.4011 | -13.6% | 1610.2013 | 1804.359 | -12.06%
290000 | 325 | MF (9 stories), in unit electric DHW | 2017398 | 77916 | 232486 | 293 | 2332322 | 99342 | 9334020.1781 | 32.1863 | 17892082.664 | 61.6968 | -91.69% | 244826.2374 | 441516.297 | -80.34% | 62.6742 | 112.8034 | -79.98% | 847.758 | 1535.6304 | -81.14%
PROPOSED BPF (ASHRAE 90.1 2019 Addendum CH) | [8 empty] | Addendum CH Site Energy BPF |  |  |  |  | ASHRAE 90.1 2019 |  |  | Addendum CH Source Energy BPF |  |  | Addendum CH Carbon Emission BPF
[9 empty] | 0.61 |  |  |  |  | 0.74 |  |  | 0.66 |  |  | 0.65
72297 | 70 | MF midrise (4 stories) with in-unit gas DHW and one-to-one heat pumps | 288560.5 | 29914.5 | 186969 | 3.5 | 499453 | 9078 | 3063659.4679 | 42.376 | 2611933.636 | 36.1278 | 14.74% | 83189.7044 | 76852.4355 | 7.618% | 78.5531 | 79.184 | -0.8032% | 265.1605 | 264.0759 | 0.409%
72297 | 70 | MF midrise (4 stories) with in-unit elec DHW and one-to-one heat pumps | 288560.5 | 29914.5 | 186969 | 3.5 | 715259 | 0 | 3063659.4679 | 42.376 | 2440463.708 | 33.7561 | 20.34% | 83189.7044 | 91195.5225 | -9.624% | 78.5531 | 94.517 | -20.32% | 265.1605 | 309.1335 | -16.58%
422039 | 431 | MF mixed use (7 stories) | 2193677 | 86681 | 2489834 | 14 | 4574174 | 1565 | 18349998.4216 | 43.4794 | 15763581.688 | 37.351 | 14.09% | 617520.4309 | 585478 | 5.189% | 103.3727 | 103.9339 | -0.5429% | 1991.6784 | 1985.2608 | 0.3222%
379493 | 466 | MF (12 stories ), central gas fired DHW | 2074399 | 146284 | 1479562 | 24 | 3535763 | 52007 | 18291477.6707 | 48.1998 | 17264723.356 | 45.4942 | 5.613% | 541469.5068 | 526271.9395 | 2.807% | 98.434 | 103.4011 | -5.046% | 1727.3438 | 1804.359 | -4.459%
290000 | 325 | MF (9 stories), in unit electric DHW | 2017398 | 77916 | 232486 | 293 | 2332322 | 99342 | 9774269.0374 | 33.7044 | 17892082.664 | 61.6968 | -83.05% | 304070.1351 | 441516.297 | -45.2% | 70.2478 | 112.8034 | -60.58% | 937.7589 | 1535.6304 | -63.76%