REGULAR MEETING

Thursday, May 18, 2023

Video Conference Call

10:30 am-12:30 pm

Recording of this Board meeting can be found here.

MEETING MINUTES

| Board Members Present | Board Members Not Present | DOB Staff Present | Other Persons Present |
| --- | --- | --- | --- |
| Marc Fetterman, Vice Chair | Anthony Dale | Ali Alaswadi | Kenneth Bland, American Wood |
| Christopher Bailey |  | Helen Hooks | Amy Boyce, IMT |
| Matt Borger |  | Lamont McGinnis | Kimberly Brown |
| Michael Brown |  |  | John Catlett, AOBA |
| Joel Causey |  |  | Michelle Christopher, BH |
| Mitchell Kannry |  |  | Ashley Delgado |
| Gus Mehrdad |  |  | Amythest Devlin, JHU Student |
| Harrison Miller |  |  | Tom DiChristopher, S&P Global Market |
| Casey Studhalter |  |  | Robert Glass, Daikin Comfort |
| Jeff Viano |  |  | Bob Hayes, SWA |
| Garret Whitescarver |  |  | Portia Hurtt, Washington Gas |
| Jason Wright |  |  | Eric J. Jones, AOBA |
|  |  |  | Abhishek Lal, Meridian Consulting, LLC |
|  |  |  | Matthias Pautisan, Sierra Club |
|  |  |  | Katalin Peter, AOBA |
|  |  |  | Eric Schlegel, WDG Architecture |
|  |  |  | Kerry Sutton, American Concrete Institute |
|  |  |  | Jake Torok, SBP |

1.  Preliminary Matters

i.	Call to Order and Roll Call

The meeting was called to order by Marc Fetterman, Board Vice Chair, at 10:32am. Roll call of Board members and other persons present was initiated by Board Vice Chair Marc Fetterman. All members and other persons present participated via WebEx video conference.

ii.	Adoption of Meeting Agenda

Marc Fetterman presented the meeting agenda for the Board’s approval. A motion to adopt the meeting agenda was made by Garret Whitescarver and seconded by Jeff Viano. Without any objections, the agenda was adopted.

iii.	Review and Adoption of Minutes of April 20, 2023, Regular Meeting

Marc Fetterman presented the meeting minutes from the April 20, 2023, Board Meeting for the Board’s approval. The meeting minutes were approved unanimously upon motion made by Michael Brown and seconded by Harrison Miller. Without any objections, the minutes were adopted.

2. Code Change Proposals for Reconsideration

| Amendment No. | Code/Section | CCCB Presentation | Procedural History | CCCB Action & Date |
| --- | --- | --- | --- | --- |
| ECC-En-4-1-23 | 4.1.1.1; 4.2.1.1 | 7/21/22 | 8/18/22 – Deferred; 9/15/22 – Deferred; 10/20/22 – Denied; 2/16/23 – Reintroduced; 3/16/23 – Deferred; 4/20/23 – Deferred; 5/18/23 - Deferred |  |
| ECC-En-Appendix G-2-23 | G2.2; G3.1 | 7/21/22 | 8/18/22 – Deferred; 9/15/22 – Deferred; 10/20/22 – Deferred; 11/17/22 – Deferred 12/15/22 – Deferred; 1/19/23 – Deferred; 2/16/23 – Deferred; 3/16/23 – Deferred; 4/20/23 – Deferred; 5/18/23 – Deferred |  |
| PC-M-10-5-23 | 1003.3.7.1 | 3/17/22 | 4/21/22 – Deferred; 5/19/22 – Deferred; 6/16/22 – Deferred; 7/21/22 – Deferred; 8/18/22 – Deferred; 9/15/22 – Deferred; 10/20/22 – Deferred; 11/17/22 – Deferred 12/15/22 – Deferred; 1/19/23 – Deferred; 2/16/23 – Deferred; 3/16/23 – Deferred; 4/20/23 – Deferred 5/18/23 - Deferred |  |

ECC-En-4-1-23

Proposal was deferred.

ECC-En-Appendix G-2-23

Proposal was deferred.

PC-M-10-5-23

Proposal was deferred.

3. Code Change Proposals for Consideration

i.	A2L Code Changes

| Amendment No | Code/Section | CCCB Presentation | Procedural History | CCCB Action & Date |
| --- | --- | --- | --- | --- |
| MechC-CCCB-15-1-23 | Chapter 15 | 4/20/23 |  | 5/18/23 – Approved |
| RC-CCCB-44-1-23 | Chapter 44 | 4/20/23 |  | 5/18/23 – Approved |

MechC-CCCB-15-1-23 and RC-CCCB-44-1-23

Proposals were voted on as a package. Motion to approve by Marc Fetterman, seconded by Casey Studhalter. Proposals were unanimously approved.

ii.	Green Construction Code Changes

| Amendment No | Code/Section | CCCB Presentation | Procedural History | CCCB Action & Date |
| --- | --- | --- | --- | --- |
| GC-En-1-1-23 | Chapter 1 | 4/20/23 |  | 5/18/23 – Approved |
| GC-En-5-1-23 | 501.3.4; 501.3.5.2; 501.3.7.2 | 4/20/23 |  | 5/18/23 – Approved |
| GC-En-6-1-23 | 601.3.1.1; 601.3.4 | 4/20/23 |  | 5/18/23 – Approved |
| GC-En-7-1-23 | Chapter 7 | 4/20/23 |  | 5/18/23 – Approved |
| GC-En-8-1-23 | 801.3.1.4; 801.4; Table 801.4.1.2B | 4/20/23 |  | 5/18/23 – Approved |
| GC-En-10-1-23 | 1001.3 | 4/20/23 |  | 5/18/23 – Approved |

GC-En-1-1-23

An amendment was made to the proposal. Motion to approve by Casey Studhalter, seconded by Garret Whitescarver. Proposal was unanimously approved.

GC-En-5-1-23

Motion to approve by Casey Studhalter, seconded by Joel Causey. Proposal was unanimously approved.

GC-En-6-1-23

Motion to approve by Casey Studhalter, seconded by Garret Whitescarver. Proposal was unanimously approved.

GC-En-7-1-23

Motion to approve by Casey Studhalter, seconded by Christopher Bailey. Proposal was unanimously approved.

GC-En-8-1-23

Motion to approve by Casey Studhalter, seconded by Michael Brown. Proposal was unanimously approved.

GC-En-10-1-23

Motion to approve by Casey Studhalter, seconded by Garret Whitescarver. Proposal was unanimously approved.

4. Code Change Proposals for Introduction

i.	Plumbing Code Change Proposals

| Amendment No | Code/Section | CCCB Presentation | Procedural History | CCCB Action & Date |
| --- | --- | --- | --- | --- |
| PC-M-3-1-17 | 301.3; 301.4 | 5/18/23 |  |  |
| PC-M-6-1-17 | Table 604.4 | 5/18/23 |  |  |
| PC-M-3-3-23 | 301.3; 301.4 | 5/18/23 |  |  |
| PC-M-11-1-23 | 1101.2 | 5/18/23 |  |  |
| PC-M-13-1-23 | 1301 | 5/18/23 |  |  |
| PC-M-13-2-23 | 1303 | 5/18/23 |  |  |
| PC-M-13-3-23 | 1304 | 5/18/23 |  |  |

ii.	Mechanical Code Change Proposals

| Amendment No | Code/Section | CCCB Presentation | Procedural History | CCCB Action & Date |
| --- | --- | --- | --- | --- |
| MechC-M-4-1-23 | 401.2 | 5/18/23 |  |  |

iii.	Building Code Change Proposals

| Amendment No | Code/Section | CCCB Presentation | Procedural History | CCCB Action & Date |
| --- | --- | --- | --- | --- |
| BC-CCCB-2-2-17 |  | 5/18/23 |  |  |
| BC-CCCB-6-2-17 | 603.1 | 5/18/23 |  |  |
| BC-CCCB-6-3-17 | 604.2 | 5/18/23 |  |  |
| BC-CCCB-6-4-17 | Table 601 | 5/18/23 |  |  |
| BC-CCCB-7-1-17 | 703.8; 703.9 | 5/18/23 |  |  |
| BC-CCCB-23-1-17 |  | 5/18/23 |  |  |
| BC-CCCB-6-1-23 | 603.4.2.2.2; 603.4.2.2.4 | 5/18/23 |  |  |
| BC-Ev-30-1-23 | 3009.1 | 5/18/23 |  |  |
| BC-Ev-30-2-23 | 3009.6 | 5/18/23 |  |  |

iv.	Property Maintenance Code Change Proposals

| Amendment No | Code/Section | CCCB Presentation | Procedural History | CCCB Action & Date |
| --- | --- | --- | --- | --- |
| PMC-PropM-2-1-23 | Chapter 2 | 5/18/23 |  |  |
| PMC-PropM-3-1-23 | Chapter 3 | 5/18/23 |  |  |

5. Additional Administrative & Other Matters

- Discussion of Letter from DC Council Members Regarding Property Maintenance Code Air Conditioning Start Date

Marc Fetterman introduced the letter from DC Council members regarding air conditioning start dates. He mentioned that the letter requests the CCCB to take up the issue. He then stated that the letter does not acknowledge that the DC Property Maintenance Code has a two week window for switching from heating to air conditioning. Marc also advised that the Council has introduced a bill, since receipt of the letter, that would address the issue. Marc Fetterman provided comments regarding previous conversations to change the air conditioning transition dates in the Code. He noted that this is an issue in buildings with a “two-pipe-system” and there was no simple answer to the transition dates. He also mentioned concerns raised in the past by the Department of Buildings and the Fire Department of people using stoves to heat their apartments if the building was not furnishing heat.

Property Maintenance TAG Chair, Matt Borger offered comments that his TAG has looked at the issue. They have concluded that there is no good date to change the services over in a two-pipe building, however they have determined that a date is beneficial. He noted that his TAG concern is providing heat, rather than air conditioning, for life safety purposes. A tenant advocate representative on the TAG agreed that there have not been life safety emergenciesdue to a lack of air conditioning in April. Furthermore, Matt stated that public data on average temperatures have been rather consistent. He concluded that his TAG’s perspective is that the dates should stay as is, until there is scientific data to warrant a change.

Garret Whitescarver offers the comment that the legislation came about after a one-week heat wave that was then followed by weeks of cooler temperatures.

Matt Borger continues to say that transitions in two-pipe systems are scheduled weeks in advance. Once the transition is made it cannot be switched back.

Joel Causey offers the comment that a Board member may need to testify before Council to provide the Board’s position on how legislation to change the air conditioning dates is not the most effective way to make Building Code decisions.

Marc Fetterman noted that his understanding of the bill as written, would require maintenance to the system in April. But it would also require a mechanical contractor to come back a second time to switch the building over to air conditioning. He speculated that this would add costs to residential building owners.

- Discussion of 2017 Building Code Omission of Code Change Eliminating Fire Service Access Elevators, see attached

Marc Fetterman provided background on a Code Change that was approved by the Fire and Life Safety TAG during the previous code cycle review but is not included in the 2017 DC Building Code. Marc noted that Danielle Gurkin, our previous chair, tried to include the change as an errata, however that did not occur.  This code change has been approved by the Fire and Life Safety TAG and by the CCCB for inclusion in the 2023 DC Building Code.

- TAG Chairs’ Status Update

Marc Fetterman noted that he has spoken to many and understands each TAG’s work status. He advised that the newest version of ICC Model Codes will be available online in a few months. He summarized the timeline to get from where the CCCB is today to Construction Codes adopted by Council and encouraged TAG’s that are still holding meetings to complete their work. He also noted that it is possible there will be two meetings scheduled for June.

- TAG meetings on the Open DC Website

Marc Fetterman reminded each TAG chair to notify Helen Hooks and Lamont McGinnis of any planned meetings at least 2 business days in advance, so that the information can be posted on the Open DC website.

iv.	Next CCCB Meeting- June 15, 2023

6.  Comments by Board Members and Members of the Public

No additional comments were made by Board Members who were in attendance.

Robert Glass offered the comments that he appreciated the outline from now until when the Code will become effective. He expressed the concern that the phasedown by the EPA in response to the AMAC. He went further to say that there is a potential to be a supply chain issue with getting the necessary equipment.

He asked Vice Chair Fetterman if the Board can issue a letter about the acceptance of A2L refrigerant equipped products while the code cycle continues as outlined. Marc Fetterman responded that he believes that is a great idea whether it’s a Board action or a notice posted by DOB and requested a draft letter from Robert Glass.

7.  Adjournment

Meeting was adjourned at 11:42 pm.

This meeting is governed by the Open Meetings Act. Please address any questions or complaints arising under this meeting to the Office of Open Government at opengovoffice@dc.gov.