REGULAR MEETING

Thursday, April 21, 2022

Video Conference Call

10:30 am-12:30 pm

MEETING MINUTES

| Members Present | Board Members Not Present | DCRA Staff Present | Other Persons Present |
| --- | --- | --- | --- |
| Danielle Gurkin, Chair | Mitchell Kannry | Ali Alaswadi | Sean Augustino (Arup) |
| Marc Fetterman, Vice Chair |  | Nathan Bell | Michael Blanco (AMT LLC) |
| Chris Bailey |  | Lamont McGinnis | John Catlett (AOBA) |
| Matthew Borger |  | Mamei Willie-Bonglo | Carissa DeMare (OTA) |
| Michael Brown |  |  | Jennifer Eugene (Washington Gas) |
| Joel Causey |  |  | Manny Geraldo (Washington Gas) |
| Harrison Miller |  |  | Eric Jones (AOBA) |
| Casey Studhalter |  |  | Martin Koch (DOEE) |
| Jeffrey Viano |  |  | Andrea Krim (NEEP) |
| Garret Whitescarver |  |  | Katalin Peter (AOBA) |
| Jason Wright |  |  | Eric Schlegel (WDG Architecture) |

1.  Preliminary Matters

i.	Call to Order and Roll Call

The meeting was called to order by Danielle Gurkin, Board Chair, at 10:38am. Roll call of Board members and other persons present was initiated by Board Chair Danielle Gurkin. All members and other persons present participated via WebEx video conference.

ii.	Adoption of Meeting Agenda

Danielle Gurkin presented the meeting agenda for the Board’s approval. A motion to adopt the meeting agenda was made by Jason Wright and seconded by Joel Causey. Without any objections, the agenda was adopted.

iii.	Review and Adoption of Minutes of March 17, 2022, Regular Meeting

Danielle Gurkin presented the meeting minutes from the March 17, 2022, Board Meeting for the Board’s approval. The meeting minutes were approved unanimously upon motion made by Joel Causey and seconded by Jason Wright. Without any objections, the minutes were adopted as final.

2.  Legislative / Rulemaking Status Report

Danielle Gurkin provided the following update:

- Publishing an Errata concerning certain provisions in 12-A DCMR- Pending ODAI affirmation on whether it may be published as an erratum.

- Conforming 1 DCMR 6 to the Open Meetings Act- This will be published as a Final Rulemaking in the DC Register on April 22, 2022.

- Conforming 14 DCMR to the Property Maintenance Code - DCRA is still internally working on the cross reference between 14 DCMR and 12-G DCMR.

- Harmonization of DC Code with 2017 DC Construction Codes – Document is still in draft form, awaiting internal permission from DCRA in order to advance.

3.  Code Change Proposals for Reconsideration

Several Board members previously expressed reservations on the Residential Energy TAG Proposals due for reconsideration during today’s CCCB meeting. As such, board chair Danielle Gurkin invited each board member to declare concisely the additional information they required before making informed decisions on the proposals. Substantive discussion will be deferred until next month’s meeting.

Information requested by members of the Board is summarized below:

Repeat questions:

- Overview of the entire suite of Commercial and Residential provision amendments

- Consider both Commercial and Residential electrification proposals in tandem

- What is the greenhouse gas (GHG) impact of switching from fossil gas to electricity?

- Can the electrical grid handle increased demand from new construction electrification?

- Case studies from other jurisdictions that have passed similar electrification regulations

- Need for Mayoral/Council guidance on this topic

Marc Fetterman:

- Scope of Energy Code provisions—does it go beyond IRC buildings?

- How would the challenges of working with PEPCO impact electrification requirements?

Jason Wright:

- How does building electrification align with larger DC climate and energy plans?

- How will the approach be structured, e.g., will there be phased integration?

- Are electric systems less efficient, and is there a need to counteract/mitigate conflicts in energy efficiency and output?

- How does electrification impact LEED and BEPS performance?

Harrison Miller:

- How would this impact restaurants?

Joel Causey:

- Wants a better understanding of the plan to abandon fossil fuels

Matt Borger:

- Is there an increase in first or operational costs?  If so, are there incentives available?

- Is this only for new constructions or is there a plan to phase in retrofit requirements?

| Amendment No. | Code/Section | CCCB Presentation | Procedural History | CCCB Action & Date |
| --- | --- | --- | --- | --- |
| ECC-R-2-1-23 | R202, R401 | 12/16/21 | Deferred 1/20/22; Deferred 2/17/22; Deferred 3/17/22; Deferred 4/21/22 |  |
| ECC-R-2-2-23 | R202, 403, & Chapter 6 | 12/16/21 | Deferred 1/20/22; Deferred 2/17/22; Deferred 3/17/22; Deferred 4/21/22 |  |
| ECC-R-2-3-23 | R202, R404 | 12/16/21 | Deferred 1/20/22; Deferred 2/17/22; Deferred 3/17/22; Deferred 4/21/22 |  |
| ECC-R-2-4-23 | R202, R401, R404, Table R406 | 12/16/21 | Deferred 1/20/22; Deferred 2/17/22; Deferred 3/17/22; Deferred 4/21/22 |  |
| ECC-R-4-1-23 | R402.4 | 12/16/21 | Deferred 1/20/22; Deferred 2/17/22; Deferred 3/17/22; Deferred 4/21/22 |  |
| ECC-R-4-2-23 | R403.6.2 | 12/16/21 | Deferred 1/20/22; Deferred 2/17/22; Deferred 3/17/22; Deferred 4/21/22 |  |

4.  Code Change Proposals for Consideration

The following proposals were presented for a vote during today’s Board meeting. Results were as follows:

| Amendment No. | Code/Section | CCCB Presentation | Procedural History | CCCB Action & Date |
| --- | --- | --- | --- | --- |
| MechC-M-2-1-23 | 202 Boiler | 3/17/22 | Deferred 4/21/22 |  |
| MechC-M-10-1-23 | Chapter 10 | 3/17/22 | Deferred 4/21/22 |  |
| PC-M-7-3-23 | 709.1 | 3/17/22 | Deferred 4/21/22 |  |
| PC-M-10-1-23 | 1003.3.1 | 3/17/22 | Deferred 4/21/22 |  |
| PC-M-10-2-23 | 1003.3.5.2 | 3/17/22 | Deferred 4/21/22 |  |
| PC-M-10-3-23 | 1003.3.5.3 | 3/17/22 | Deferred 4/21/22 |  |
| PC-M-10-4-23 | 1003.3.5.4 | 3/17/22 | Deferred 4/21/22 |  |
| PC-M-10-5-23 | 1003.3.7.1 | 3/17/22 | Deferred 4/21/22 |  |
| RC-FH-R322-1-23 | R322.1.6; R322.2.2.1 | 3/17/22 |  | Approved 4/21/22 |
| BC-A-2-1-23 | 202 | 3/17/22 |  | Approved 4/21/22 |
| BC-A-11-1-23 | 1101.1 | 3/17/22 |  | Approved 4/21/22 |
| BC-A-11-2-23 | 1108.5.5.1 | 3/17/22 |  | Approved 4/21/22 |
| BC-A-11-3-23 | 1109.5 | 3/17/22 |  | Approved 4/21/22 |
| BC-A-11-4-23 | 1108.6.1.1 | 3/17/22 |  | Approved 4/21/22 |
| BC-A-11-5-23 | 1108.6.2.2.1 | 3/17/22 |  | Approved 4/21/22 |
| BC-A-11-6-23 | 1108.6.2.2.2 | 3/17/22 |  | Approved 4/21/22 |
| BC-A-11-7-23 | 1103.2.15 | 3/17/22 |  | Approved 4/21/22 |
| BC-A-11-8-23 | 1103.2.9 | 3/17/22 |  | Approved 4/21/22 |
| BC-A-11-9-23 | 1101.3 | 3/17/22 |  | Approved 4/21/22 |
| BC-A-Appendix E-1-23 | Appendix E | 3/17/22 |  | Approved 4/21/22 |

BC-A-2-1-23

Motion by Jason Wright, seconded by Chris Bailey. Proposal was unanimously approved.

BC-A-11-1-23

Motion by Jason Wright, seconded by Marc Fetterman. Proposal as unanimously approved as amended.

BC-A-11-2-23

Motion by Jason Wright, seconded by Chris Bailey. Proposal as approved unanimously as amended.

BC-A-11-3-23

Motion by Jason Wright, seconded by Chris Bailey. Proposal was unanimously approved.

BC-A-11-4-23

Motion by Jason Wright, seconded by Chris Bailey. Proposal was unanimously approved.

BC-A-11-5-23

Motion by Jason Wright, seconded by Garret Whitescarver. Proposal was unanimously approved.

BC-A-11-6-23

Motion by Jason Wright, seconded by Marc Fetterman. Proposal was unanimously approved.

BC-A-11-7-23

Motion by Jason Wright, seconded by Chris Bailey. Proposal was unanimously approved.

BC-A-11-8-23

Motion by Jason Wright, seconded by Matthew Borger. Proposal was unanimously approved.

BC-A-11-9-23

Motion by Jason Wright, seconded by Chris Bailey. Proposal was unanimously approved.

BC-A-Appendix E-1-23

Motion by Jason Wright, seconded by Chris Bailey. Proposal was unanimously approved.

RC-FH-R322-1-23 required a roll call vote. Motion by Chris Bailey, seconded by Jeff Viano. Results were as follows:

| Roll Call Vote |  |
| --- | --- |
| Marc Fetterman, Vice Chair | Approve |
| Chris Bailey | Approve |
| Matthew Borger | Opposed |
| Michael Brown | Approve |
| Joel Causey | Absent |
| Mitchell Kannry | Absent |
| Harrison Miller | Opposed |
| Casey Studhalter | Approve |
| Jeff Viano | Approve |
| Garret Whitescarver | Approve |
| Jason Wright | Absent |

5.  Code Change Proposals for Introduction

| Amendment No. | Code/Section | CCCB Presentation | Procedural History | CCCB Action & Date |
| --- | --- | --- | --- | --- |
| BC-AE-32-1-23 | Chapter 32 | 4/21/22 |  |  |

6.  Administrative & Other Matters

- TAG meetings on the Open DC Website

Danielle Gurkin reminded each TAG chair to continue notifying both Mamei Willie-Bonglo and herself of any planned meetings at least 3 business days in advance, so that the information can be posted on the Open DC website.

ii.	Next CCCB Meeting- May 19, 2022

7.  Comments by Board Members and Members of the Public

Marc Fetterman thanked fellow Board members for their patience on the boiler code proposals, and offered to arrange follow-ups with mechanical engineers on the Mechanical TAG ahead of next month’s Board meeting to discuss any issues.

Jeff Viano, on behalf of fellow structural engineers, requested a follow-up meeting with Garret Whitescarver to resume previous conversations on DCRA permit reviews related to construction of wooden buildings.

Sean Augustino, a structural engineer with Arup, voiced support for the total electrification proposal discussed earlier in today’s meeting and offered to provide additional information that the Board may find useful.

8.  Adjournment

Meeting was adjourned at 12:28pm.

This meeting is governed by the Open Meetings Act. Please address any questions or complaints arising under this meeting to the Office of Open Government at opengovoffice@dc.gov.